## fig2E_raw+calc
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1705009483 |  |  |  | Serial number of connected stacker:
Firmware: V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) |  |  |  | MAI, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)
Date: | 2024-04-24
Time: | 4:08:01 PM
System |  |  |  | TECAN-HP
User |  |  |  | Tecan-HP\Tecan
Plate |  |  |  | Corning 96 Flat Bottom Black Polystyrene Cat. No.: 3631 [COR96fb clear bottom.pdfx]
Plate-ID (Stacker)
Shaking (Orbital) Duration: |  |  |  | 5 | s
Shaking (Orbital) Amplitude: |  |  |  | 2 | mm
Label: OD600
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Start Time: | 4/24/2024 4:08:06 PM
Temperature: 26.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.45 | 0.4447 | 0.4337 | 0.426 | 0.3983 | 0.3952 | 0.3924 | 0.384 | 0.4016 | 0.4359 | 0.4212 | 0.3962 | cm
B | 0.3229 | 0.3226 | 0.3162 | 0.304 | 0.2762 | 0.2694 | 0.2889 | 0.2692 | 0.2853 | 0.2975 | 0.2743 | 0.2653 | cm+kan
C | 0.5109 | 0.5414 | 0.5271 | 0.5514 | 0.5387 | 0.5123 | 0.5581 | 0.5593 | 0.5734 | 0.5512 | 0.5257 | 0.4806 | cm+lin
D | 0.439 | 0.4385 | 0.438 | 0.4118 | 0.3863 | 0.3929 | 0.4323 | 0.4685 | 0.4807 | 0.5293 | 0.53 | 0.5535 | cm+kan+lin
E | 0.4005 | 0.4073 | 0.3921 | 0.3753 | 0.347 | 0.3286 | 0.3667 | 0.3547 | 0.3559 | 0.3477 | 0.3559 | 0.3177
F | 0.3223 | 0.3257 | 0.3184 | 0.3148 | 0.288 | 0.2751 | 0.3061 | 0.29 | 0.2868 | 0.2912 | 0.2851 | 0.2556
G | 0.4966 | 0.5 | 0.5035 | 0.5025 | 0.4468 | 0.4564 | 0.5074 | 0.5071 | 0.505 | 0.5135 | 0.4593 | 0.4919
H | 0.4023 | 0.4111 | 0.4056 | 0.4013 | 0.3845 | 0.4033 | 0.4327 | 0.4177 | 0.3983 | 0.4493 | 0.3773 | 0.461
End Time: | 4/24/2024 4:08:47 PM
Label: GFP55
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 55 | Manual
Number of Flashes |  |  |  | 10
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Start Time: | 4/24/2024 4:08:52 PM
Temperature: 26.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 549 | 528 | 401 | 146 | 131 | 127 | 563 | 532 | 399 | 146 | 140 | 133 | cm
B | 798 | 762 | 567 | 145 | 126 | 122 | 837 | 726 | 567 | 150 | 132 | 126 | cm+kan
C | 611 | 583 | 479 | 169 | 144 | 141 | 619 | 608 | 501 | 175 | 150 | 148 | cm+lin
D | 683 | 655 | 542 | 192 | 147 | 141 | 696 | 679 | 554 | 181 | 147 | 140 | cm+kan+lin
E | 527 | 518 | 374 | 137 | 122 | 118 | 556 | 525 | 385 | 136 | 131 | 118
F | 861 | 834 | 590 | 155 | 133 | 127 | 882 | 804 | 603 | 152 | 140 | 122
G | 642 | 616 | 507 | 180 | 143 | 146 | 623 | 635 | 527 | 186 | 144 | 158
H | 690 | 667 | 555 | 201 | 159 | 145 | 698 | 721 | 602 | 197 | 157 | 151
Calculated normalized GFP by OD600
A | 1220 | 1187.3173 | 924.6023 | 342.723 | 328.8978 | 321.3563 | 1434.7605 | 1385.4167 | 993.5259 | 334.9392 | 332.3837 | 335.689 | cm
B | 2471.3534 | 2362.0582 | 1793.1689 | 476.9737 | 456.1912 | 452.8582 | 2897.1964 | 2696.8797 | 1987.3818 | 504.2017 | 481.2249 | 474.934 | cm+kan
C | 1195.9287 | 1076.8378 | 908.7459 | 306.4926 | 267.3102 | 275.2294 | 1109.1203 | 1087.0731 | 873.7356 | 317.4891 | 285.3339 | 307.9484 | cm+lin
D | 1555.8086 | 1493.7287 | 1237.4429 | 466.2458 | 380.5333 | 358.87 | 1609.9931 | 1449.3063 | 1152.486 | 341.9611 | 277.3585 | 252.9359 | cm+kan+lin
E | 1315.8552 | 1271.7898 | 953.8383 | 365.0413 | 351.585 | 359.0992 | 1516.2258 | 1480.1241 | 1081.7646 | 391.1418 | 368.0809 | 371.4196
F | 2671.4242 | 2560.6385 | 1853.0151 | 492.3761 | 461.8056 | 461.6503 | 2881.4112 | 2772.4139 | 2102.5105 | 521.978 | 491.0557 | 477.3083
G | 1292.791 | 1232 | 1006.9514 | 358.209 | 320.0537 | 319.8948 | 1227.8282 | 1252.2185 | 1043.5644 | 362.2201 | 313.5206 | 321.2035
H | 1715.138 | 1622.4763 | 1368.3432 | 500.8721 | 413.5241 | 359.5339 | 1613.1268 | 1726.1193 | 1511.4236 | 438.4598 | 416.1145 | 327.5488
End Time: | 4/24/2024 4:09:33 PM

## fig2E_revision_clean
| rep1 | rep2 | rep3 | rep4
Sample_01 | 1220 | 1434.7605 | 1315.8552 | 1516.2258
Sample_02 | 1187.3173 | 1385.4167 | 1271.7898 | 1480.1241
Sample_03 | 924.6023 | 993.5259 | 953.8383 | 1081.7646
Sample_04 | 342.723 | 334.9392 | 365.0413 | 391.1418
Sample_05 | 328.8978 | 332.3837 | 351.585 | 368.0809
Sample_06 | 321.3563 | 335.689 | 359.0992 | 371.4196
Sample_07 | 1195.9287 | 1109.1203 | 1292.791 | 1227.8282
Sample_08 | 1076.8378 | 1087.0731 | 1232 | 1252.2185
Sample_09 | 908.7459 | 873.7356 | 1006.9514 | 1043.5644
Sample_10 | 306.4926 | 317.4891 | 358.209 | 362.2201
Sample_11 | 267.3102 | 285.3339 | 320.0537 | 313.5206
Sample_12 | 275.2294 | 307.9484 | 319.8948 | 321.2035
Sample_13 | 2471.3534 | 2897.1964 | 2671.4242 | 2881.4112
Sample_14 | 2362.0582 | 2696.8797 | 2560.6385 | 2772.4139
Sample_15 | 1793.1689 | 1987.3818 | 1853.0151 | 2102.5105
Sample_16 | 476.9737 | 504.2017 | 492.3761 | 521.978
Sample_17 | 456.1912 | 481.2249 | 461.8056 | 491.0557
Sample_18 | 452.8582 | 474.934 | 461.6503 | 477.3083
Sample_19 | 1555.8086 | 1609.9931 | 1715.138 | 1613.1268
Sample_20 | 1493.7287 | 1449.3063 | 1622.4763 | 1726.1193
Sample_21 | 1237.4429 | 1152.486 | 1368.3432 | 1511.4236
Sample_22 | 466.2458 | 341.9611 | 500.8721 | 438.4598
Sample_23 | 380.5333 | 277.3585 | 413.5241 | 416.1145
Sample_24 | 358.87 | 252.9359 | 359.5339 | 327.5488

## Sample_annotations
| 0 ng/mL ATc | 0.01 ng/mL ATc | 0.1 ng/mL ATc | 1 ng/mL ATc | 10 ng/mL ATc | 100 ng/mL ATc
Cm | Sample_01 | Sample_02 | Sample_03 | Sample_04 | Sample_05 | Sample_06
Cm + Lin | Sample_07 | Sample_08 | Sample_09 | Sample_10 | Sample_11 | Sample_12
Cm + Kan | Sample_13 | Sample_14 | Sample_15 | Sample_16 | Sample_17 | Sample_18
Cm + Kan + Lin | Sample_19 | Sample_20 | Sample_21 | Sample_22 | Sample_23 | Sample_24